



**Resetting Morialta’s lighting control system (Church)**

1. **Start Light factory with LightFactory.exe (Icon should be on desk top) and wait for it to open etc may take a minute or so.**
2. **Run  lfib.exe (this should also be an icon on the desk top) if not it will be in the program files - lightfactory**
3. **This will open 2 windows – they may be on top of each other**
4. **Separate the 2 windows** 
5. **On the window with “file”option click to open file and open the required \*\*\*\*.lfi File**
6. **On the same window click a cog looking symbol called “Run/Test”**



1. **In server box type “Local Host” (it may come up as the default)** 
2. **Click connect box** 
3. **It should be working???!!!**